Planning and Environment Regulations 2005 Form 9


	PLANNING
PERMIT

GRANTED UNDER DIVISION 5 OF PART 4 OF THE PLANNING AND eNVIRONMENT aCT 1987


	
	Permit No:  1303-2015

Planning Scheme: Greater Geelong Planning Scheme


Responsible Authority: Greater Geelong City Council


	Address of the Land: 42 leather street & 350 boundary road breakwater
	

	The Permit allows: MULTI LOT SUBDIVISION AND ASSOCIATED WORKS INCLUDING THE CREATION, VARIATION AND REMOVAL OF EASEMENTS
	


The following conditions apply to this permit:

Endorsed Plan

1. The layout and site dimensions of the proposed subdivision as shown on the endorsed plan(s) shall not be altered or modified without the written consent of the Responsible Authority. There are no requirements to alter or modify the endorsed plan if a plan is certified under the provisions of the Subdivision Act 1988 that is generally in accordance with the endorsed plans.

Council Engineering Conditions

2. Excavated material shall not be carted off the site except with the written approval of the Responsible Authority.
3. No material shall be brought onto the site for use as filling within the subject area under this Permit, unless with the written approval of the Responsible Authority. Prior to any approval being issued by the Responsible Authority for imported filling to be used on the site, the applicant must submit for approval to the Responsible Authority, samples of proposed filling, details of the source of the filling, details of proposed traffic routes to be traversed, soil testing results and reports in regard to the presence of contaminants in the filling, and the suitability of filling to be placed on site. 
4. All areas to be filled shall be stripped of vegetation and any top soil shall be removed and stockpiled for reuse over the filled areas. Only approved filling material shall be placed on the site. The filling shall be placed in maximum 150 mm layers, or as approved otherwise by the Responsible Authority, and compacted to the applicable level for filling on allotments and within future roadways in accordance with AS3798, to the satisfaction of the Responsible Authority. 

5. At the completion of the bulk earthworks, and at completion of the works, all disturbed areas shall be hydro mulched with an approved seed and fertilizer mixture to the satisfaction of the Responsible Authority to suppress dust, and minimise erosion, unless approved otherwise in writing by the Responsible Authority.
6. All works must be undertaken in accordance with the recommendations of any geotechnical reports and/or environmental remediation reports. 
7.Prior to the commencement of site works, the developer is required to submit detailed road and drainage construction plans to the Responsible Authority for approval.  The plans shall include details of pits and pipes sizes, finished and existing surface levels, creation of appropriate easements, detention basin(s) including any required drainage reserves, water quality treatment and connection to the legal point of discharge in accordance with the Drainage Masterplan. The Consulting Engineer must show that the design for the drainage system complies with the requirements of the Infrastructure Design Manual and any other relevant standards. Site run-off shall be limited to equivalent pre-developed levels for rainfall events up to and including the critical 100 year ARI event. An appropriate on site detention system shall be designed to limit site run-off to the pre-developed levels to the satisfaction of the Responsible Authority. The plans must include, but not limited to:
a) The stormwater drainage system on the site must be designed such that stormwater run-off exiting the land meets the current best practice performance objectives for stormwater quality as follows:

i. 80% retention of the typical annual load of suspended solids;

ii. 45% retention of the typical annual load of total phosphorous; 

iii. 45% retention of the typical annual load of total nitrogen; and

iv. 70% retention of the typical annual load of gross pollutants.

b) Major culvert augmentation/upgrades must be provided to the satisfaction of the Responsible Authority in accordance with recommendations of the Drainage Masterplan.

c) Minimum finished surface levels on all lots must be 300mm above the relevant 1% AEP flood level. 

d) Roadwork construction details including the following:

i.fully sealed pavement with kerb and channel for new internal roads;

ii.any external roadworks and treatments;

iii. concrete footpaths;

iv. line-marking and signage installation

e) Maintenance access tracks shall be of all-weather construction, including adequate drainage to prevent erosion.

Note: 

Detailed Road and Drainage Design Plans that result in flood levels on existing properties being adversely affected by the proposed works will not be approved for construction.
Construction Management Plan

8. A Construction Management Plan shall be submitted and approved by the Responsible Authority and shall address items including (but not be limited to) the following:

a) The protection of all existing vegetation and waterways;

b) Show access locations for construction vehicles;

c) All appropriate control of site emissions during construction and the defects liability period;

d) A staging plan for all construction phases including indicative dates for commencement and completion;

e) Intended access for construction vehicles;

f) Engineering assessment of assets that will be impacted on by construction and recommended techniques to minimise any adverse impact;

g) Details of actions to be implemented to in the event of damage to abutting assets;

h) Details of where construction personnel will park;

i) Hours/days of construction, including deliveries. (Note: These hours must be consistent with the Environment Protection Authority (EPA) legislation/guidelines);

j) Phone numbers of on-site personnel or other supervisory staff to be contactable in the event of issues arising on site;

k) Details of site cleanliness and clean up regimes;

l) Location of material storage;

m) Dust suppression management;

n) Details of measures to be maintained during the housing construction phase of development to prevent sediment entering downstream drainage infrastructure;

o) Any other measures that are consistent with the following Environmental Protection Authority publications: ‘Environmental Management Guidelines for Major Construction Sites’, ‘Construction Techniques for Sediment and Pollution Control’ and ‘Doing it Right on Subdivisions’

9. All development and works must be carried out in accordance with the Construction Management Plan endorsed under this permit, all to the satisfaction of the Responsible Authority.

Engineering Prior to Certification

10. Prior to certification of the Plan of Subdivision, easements for the purposes of ‘Drainage’ and ‘Carriageway’ must be set aside in favour of the City of Greater Geelong, to the satisfaction of the Responsible Authority.

Engineering Prior to Statement of Compliance

11. Prior to the issuing of a Statement of Compliance, road and drainage works, including basin(s), must be constructed in accordance with the approved plans and specifications to the satisfaction of the Responsible Authority.

11. Prior to the issuing of a Statement of Compliance, the design and construction of civil infrastructure to become council assets must be approved and supervised by council. A fee of 3.25% of the cost of the works is to be paid to council for the checking and supervision of these works.

12. Prior to the issuing of a Statement of Compliance, a maintenance bond of 5% of the cost of civil works is to be paid to council and will be returned after successful completion of a 12 month maintenance period. A 24 month maintenance period applies to wetland vegetation.

Street Lighting

13. Prior to the issue of a Statement of Compliance, relevant street sign/s must be erected to the satisfaction of the Responsible Authority.

14. Prior to the issue of a Statement of Compliance, street lighting must be provided within the site and along external frontages in accordance with the relevant Australian Standard(s), unless otherwise agreed in writing by the Responsible Authority and unless it can be demonstrated that existing street lighting is sufficient for public safety to the satisfaction of the Responsible Authority.

Landscaping – Street Trees

15. Unless otherwise approved in writing by the Responsible Authority, prior to the issue of a Statement of Compliance, a detailed streetscape plan, prepared by a person suitably qualified in landscape design, must be submitted to and approved by the Responsible Authority. When approved, the plan will be endorsed and will then form part of the permit.  The streetscape plan must be drawn to scale with dimensions and three hard copies provided. The plan must show:

a) The layout of proposed new planting in all road reserves and traffic management devices (e.g. medians, islands, and roundabouts).

b) Details of all other infrastructure within the road reserve (e.g. underground services, street lights, stormwater pits, fire plugs etc). A detailed planting schedule of all proposed trees and plants including botanical names, common names, pot sizes, sizes at maturity and quantities for each species

c) All proposed street tree planting using semi-advanced trees with a minimum container size of 45 litres.

d) Tree placement on secondary lot frontages using no more than two (2) trees that grow to an estimated size at maturity of no greater than 5m x 4m.

e) All proposed groundcover & shrub planting with a minimum container size of 150mm.

f) The maintenance schedule for all proposed planting.

Notes

1. Streetscape plans must be submitted to the Responsible Authority for approval separately to adjoining land including Council reserves. 

2. Proposed entry signage must not be located on public land.

3. Landscape treatments within traffic control devices such as medians and roundabouts are subject to specific control measures.

4. Street tree species selection is subject to approval by Powercor in accordance with the requirements of the Distribution Construction Standard, Underground Trenching. Tree location and species type shall be determined, in consultation with CitiPower/Powercor, based on the specific site and the ability of the tree to both enhance the local amenity and co-exist with utility services infrastructure  with all trees to be identified on a ‘master services plan’ provided by the party planting the trees. 

5. The applicant must obtain and provide evidence to the Responsible Authority that Powercor 
has been consulted and has agreed with the proposed street tree species palette. 

Completion of Streetscape Works

16. Unless otherwise approved in writing by the responsible authority, prior to the issue of Statement of Compliance all streetscape works shown on the endorsed streetscape plans for that stage must be completed to the satisfaction of the responsible authority. 

17. Where streetscape works forming part of the endorsed plans are not commenced or completed to the satisfaction of the Responsible Authority prior to the applicant seeking Statement of Compliance, the developer may request the approved Streetscape Plan to be appropriately bonded or covered by a bank guarantee. Estimates must be professionally costed and submitted to the Responsible Authority for approval, once approved the bonds or bank guarantees must be submitted to the Responsible Authority separately prior to Statement of Compliance being issued.

a) The incomplete streetscape works bond or bank guarantee must be 125 per cent of the estimated cost of incomplete streetscape works.

b) The maintenance bond or bank guarantee must be 100% of the estimated cost of maintenance activities for a two (2) year period.

Notes

1. A practical completion is required to satisfy this condition and must be organised by the permit holder with two weeks’ notice given for onsite inspections. The incomplete works bond will be returned once practical completion has been awarded.

2. Works bonded as outstanding must be enacted within one (1) year of statement of compliance being awarded.

Maintenance of Streetscape Works

18. All works must be maintained to the satisfaction of the Responsible Authority for a period of two (2) years from the date of practical completion.  During this period, any dead, diseased or damaged plants are to be repaired or replaced as required.

19. Where the landscape works are bonded, the maintenance period will commence from the date that the works are awarded Practical Completion by the Responsible Authority.

20. A maintenance bond to the value of 100% of the cost of works must be submitted to the responsible authority on application for practical completion of landscaping works to be retained until such time that the works have been accepted by Council for handover.

21. Works that have achieved practical completion will be randomly inspected throughout the maintenance period.  Works deemed by the Responsible Authority as being inappropriately maintained or established will not be accepted and will remain on maintenance until such time that the Responsible Authority deems it acceptable.

Notes

1. A handover inspection is required to satisfy this condition and must be organised by the permit 
holder with two weeks’ notice given for onsite inspections. The maintenance bond will be returned on acceptance of handover.

2. No handovers will be accepted during the summer period, between 30 November and 1 March.

Telecommunications

22. The owner of the land must enter into agreements with 

a) a telecommunications network or service provider for the provision of telecommunication services to each lot shown on the endorsed plan in accordance with the provider’s requirements and relevant legislation at the time; and

b) a suitably qualified person for the provision of fibre ready telecommunication facilities to each lot shown on the endorsed plan in accordance with any industry specifications or any standards set by the Australian Communications and Media Authority, unless the applicant can demonstrate that the land is in an area where the National Broadband Network (NBN) will not be provided by optical fibre.

23. Before the issue of a Statement of Compliance for any stage of the subdivision under the Subdivision Act 1988, the owner of the land must provide written confirmation from:


a) a telecommunications network or service provider that all lots are connected to or are ready for connection to telecommunications services in accordance with the provider’s requirements and relevant legislation at the item; and


b) a suitably qualified person that fibre ready telecommunications facilities have been provided in accordance with any industry specifications or any standards set by the Australian Communications and Media Authority, unless the applicant can demonstrate that the land is in an area where the National Broadband Network will not be provided by optical fibre.

CCMA Conditions

24. The proposed stormwater infrastructure must be constructed in accordance with the Stormwater Management plan dated November 2015. 

25. Spoil material generated as part of the construction works must be appropriately disposed of offsite and outside the extent of the 1% AEP flood events. 

Note:

Should you have any queries, please contact Geoff Taylor, on (03) 5232 9100 or floodinfo@ccma.vic.gov.au. To assist the CMA in handling any enquiries please quote F-2015-0897 in your correspondence.

Powercor Conditions

26. The plan of subdivision submitted for certification under the Subdivision Act 1988 shall be referred to Powercor Australia Ltd in accordance with Section 8 of that Act.

27. The applicant shall provide an electricity supply to all lots in the subdivision in accordance with Powercor’s requirements and standards, including the extension, augmentation or re-arrangement of any existing electricity supply system, as required by Powercor (A payment to cover the cost of such work will be required). In the event that a supply is not provided the applicant shall provide a written undertaking to Powercor Australia Ltd that prospective purchasers will be so informed.

28. The applicant shall, where buildings or other installations exist on the land to be subdivided and are connected to the electricity supply; they shall be brought into compliance with the Service and Installation Rules issued by the Victorian Electricity Supply Industry. You shall arrange compliance through a Registered Electrical Contractor.

29. Any buildings must comply with the clearances required by the Electricity Safety (Installations) Regulations.

30. Any construction work must comply with Energy Safe Victoria’s “No Go Zone” rules.

31. The applicant shall set aside on the plan of subdivision for the use of Powercor Australia Ltd reserves and/or easements satisfactory to Powercor Australia Ltd where any electric substation (other than a pole mounted type) is required to service the subdivision. Document in BDS-DOI (1) 2 Alternatively, at the discretion of Powercor Australia Ltd a lease(s) of the site(s) and for easements for associated powerlines, cables and access ways shall be provided. 


Such a lease shall be for a period of 30 years at a nominal rental with a right to extend the lease for a further 30 years. Powercor Australia Ltd will register such leases on the title by way of a caveat prior to the registration of the plan of subdivision.

32. The applicant shall provide  easements satisfactory to Powercor Australia Ltd, where easements have not been otherwise provided, for all existing Powercor Australia Ltd electric lines on the land and for any new powerlines required to service the lots and adjoining land, save for lines located, or to be located, on public roads set out on the plan. These easements shall show on the plan an easement(s) in favour of "Powercor Australia Ltd" for “Powerline Purposes” pursuant to Section 88 of the Electricity Industry Act 2000.

33. The applicant shall obtain for the use of Powercor Australia Ltd any other easement external to the subdivision required to service the lots.

34. The applicant shall adjust the position of any existing easement(s) for powerlines to accord with the position of the line(s) as determined by survey.

35. The applicant shall obtain Powercor Australia Ltd’s approval for lot boundaries within any area affected by an easement for a powerline and for the construction of any works in such an area.

36. The applicant shall provide to Powercor Australia Ltd, a copy of the version of the plan of subdivision submitted for certification, which shows any amendments which have been required.

BARWON WATER CONDITIONS

General
37. The owner shall create easements for ‘Pipelines or Ancillary Purposes’ and/or reserves in favour of Barwon Region Water Corporation on the plan of subdivision in accordance with Barwon Water’s Land Development Manual, without cost to Barwon Water, over existing and proposed water and sewerage infrastructure within the land. If further easements or reserves are required following design of water and sewerage infrastructure these must be added to the plan of subdivision prior to seeking Barwon Water’s consent to the issue of a statement of compliance for the subdivision.

38. The plan of subdivision must be referred to Barwon Water in accordance with the Subdivision Act 1988 and any subsequent amendments to the plan provided to Barwon Water.

Water
39. The provision and installation of individual water services including meters to all lots in the subdivision.  A dimensioned plan showing location of all meters relative to the allotment boundaries, and its number(s), is to be submitted.  Note that tappings and services are not to be located under existing or proposed driveways.

40. The payment of New Customer Contributions for water for each additional connection which includes any new lot on a plan of subdivision and/or any apartment, unit, or premises within the development that is or can be separately metered for water supply.

41. Reticulated water mains or a water main extension are/is required to service the proposed development.  This work must be designed by a Barwon Water accredited Consulting Engineer and constructed by a Barwon Water accredited Contractor following the “Developer Works” process.

42. Barwon Water’s records indicate existing water services and meters are located on this property.  A dimensioned plan showing the location of existing meters, and the location of the meter relative to the existing boundaries, and its number, is to be submitted.  Private water service pipes are not permitted to cross allotment boundaries and must be plugged and abandoned at the boundaries of such allotments.

Sewer
43. The provision of sewerage services to all lots in the subdivision. Individual allotment house connection drains are to be provided for and extend into each allotment. Note that if any common drain or drain from another allotment crosses under a proposed dwelling, a “modification to consent” is to be obtained from the Victorian Building Association and presented to Barwon Water with the required drainage plan.  It should be noted that the property service sewer drain remains the responsibility of the property owner(s).

44.The payment of New Customer Contributions for sewer for each additional connection which includes any new lot on a plan of subdivision and/or any apartment, unit, or premises within the development that is or can be separately metered (for water supply).lot created and/or each additional metered connection within the subdivision.

45. Reticulated sewer mains or a sewer main extension are/is required to service the proposed development.  This work must be designed by a Barwon Water accredited Consulting Engineer and constructed by a Barwon Water accredited Contractor following the “Developer Works” process.

Note:
 

The developer is to apply to Barwon Water for details relating to costs and conditions required for the provision of water supply and sewerage services to the subdivision. It would be appreciated if all communications between the developer/agent and Barwon Water quote Barwon Water reference number L012083.

CFA CONDITIONS
46. Operable hydrants, above or below ground, must be provided to the satisfaction of CFA.

47. The maximum distance between these hydrants and the rear of all building envelopes (or in the absence of the building envelope, the rear of all lots) must be 120m and hydrants must be no more than 120m apart.

48. Hydrants must be identified as specified in ‘Identification of Street Hydrants for Firefighting purposes’ available under publications on the Country Fire Authority website (www.cfa.vic.gov.au).

49. Roads must be constructed to a standard so that they are accessible in all weather conditions and capable of accommodating a vehicle of 15 tonnes for the trafficable road width.

50. The average grade must be no more than 1in 7 (14.4%) (8.1 degrees) with a maximum of no more than 1 in 5 (20%) (11.3 degrees) for no more than 50 metres.  Dips must have no more than a 1 in 8 (12%) (7.1 degree) entry and exit angle.

51. Roads must have a minimum trafficable width of 7.3 metres.

52.Roads more than 60m in length from the nearest intersection must have a turning circle with a minimum radius of 8m (including roll-over kerbs if they are provided) T or Y heads of dimensions specified by the CFA may be used as alternatives.

PTV Conditions

53. Prior to the commencement of works, the permit holder must ensure that all works (as outlined in the Traffic Report submitted with the application, prepared by ESR Transport Planning dated 30.05.2016, page 7) associated with the bus stop relocation on Leather Street must be completed to the satisfaction of Public Transport Victoria. Works must be undertaken at the full cost to the permit holder and deemed compliant with the Disability Discrimination Act.

54. The permit holder must ensure that public transport infrastructure is not damaged. Any damage to public transport infrastructure must be rectified to the satisfaction of Public Transport Victoria at full cost to the permit holder. 

55. The permit holder must take all reasonable steps to ensure that disruption to bus operation along Leather Street is kept to a minimum during the construction of the development. Foreseen disruptions to bus operations and mitigation measures must be communicated to Public Transport Victoria fourteen days (14) prior. PTV requires notice of the relocation of the existing bus stop and all associated infrastructure two weeks (2) prior to relocation

EXPIRY

56. This permit as it relates to subdivision will expire if one of the following circumstances applies:

a) 
The plan of subdivision has not been certified within two (2) years of the date of this permit.

b) 
A statement of compliance is not issued within five (5) years of the date of certification.

The Responsible Authority may extend the periods referred to if a request is made in writing before the permit expires or within six (6) months afterwards.

 (If the permit has been amended, include the following table indicating the date and nature of amendments included in the amended permit)

	Date of amendment 
	Brief description of amendment

	
	


IMPORTANT INFORMATION ABOUT THIS PERMIT

WHAT HAS BEEN DECIDED?

The Responsible Authority has issued a permit.  The permit was granted by the Minister administering the Planning and Environment Act 1987 under section 96I of that Act.

WHEN DOES THE PERMIT BEGIN?

The permit operates from a day specified in the permit being a day on or after the day on which the amendment to which the permit applies comes into operation.

WHEN DOES A PERMIT EXPIRE?

1.
A permit for the development of land expires if -

*
the development or any stage of it does not start within the time specified in the permit; or

*
the development requires the certification of a plan of subdivision or consolidation under the Subdivision Act 1988 and the plan is not certified within two years of the issue of a permit, unless the permit contains a different provision; or

*
the development or any stage is not completed within the time specified in the permit, or, if no time is specified, within two years after the issue of the permit or in the case of a subdivision or consolidation within 5 years of the certification of the plan of subdivision or consolidation under the Subdivision Act 1988.

2.
A permit for the use of land expires if -

*
the use does not start within the time specified in the permit, or if no time is specified, within two years after the issue of the permit; or

*
the use is discontinued for a period of two years.

3.
A permit for the development and use of land expires if -

*
the development or any stage of it does not start within the time specified in the permit; or

*
the development or any stage of it is not completed within the time specified in the permit, or, if no time is specified, within two years after the issue of the permit; or

· the use does not start within the time specified in the permit, or, if no time is specified, within two years after the completion of the development: or

· the use is discontinued for a period of two years.

4.
If a permit for the use of land or the development and use of land or relating to any of the circumstances mentioned in section 6A(2) of the Planning and Environment Act 1987, or to any combination of use, development or any of those circumstances requires the certification of a plan under the Subdivision Act 1988, unless the permit contains a different provision-

*
the use or development of any stage is to be taken to have started when the plan is certified; and

*
the permit expires if the plan is not certified within two years of the issue of the permit.

5.
The expiry of a permit does not affect the validity of anything done under that permit before the expiry.

WHAT ABOUT APPEALS?

*
Any person affected may apply for a review of - 

· a decision of the responsible authority refusing to extend the time within which any development or use is to be started or any development completed; or.

· a decision of the responsible authority refusing tot extend the time within which a plan under the Subdivision Act 1988 is to be certified, in the case of a permit relating to any of the circumstances mentioned in section 6A(2) of the Planning and Environment Act 1987; or.

· the failure of the responsible authority to extend the time within one month after the request for extension is made.

*
An application for review is lodged with the Victorian Civil and Administrative Tribunal.

*
An application for review must be made on an Application for Review form which can be obtained from the Victorian Civil and Administrative Tribunal, and be accompanied by the applicable fee.

*
An application for review must state the grounds upon which it is based.

*
An application for review must also be served on the Responsible Authority.

*
Details about applications for review and the fees payable can be obtained from Victorian Civil and Administrative Tribunal.

_______________________________

	Date Issued:


	Date Permit comes into operation:

(or if no date is specified, the permit comes into operation on the same day as the amendment, to which the permit applies, comes into operation)


	Signature for the Responsible Authority



	




	




	



Permit No.:

Page 1 of 

